### Importance of Aco Drains

Aco drains are crucial for managing surface water runoff around your property. They help prevent flooding by directing water away from buildings and ensuring that pathways, driveways, and outdoor spaces remain safe and accessible. Maintaining these drains is not just a matter of convenience; it is essential for protecting your property from water damage and mitigating potential hazards.

Tenant's Guide to Maintaining Aco Drains

### Maintenance Responsibilities

As a tenant, it is your responsibility to ensure that Aco drains are regularly checked and maintained. Here are key actions you should take:

- Regular Inspections: Inspect Aco drains frequently, especially after heavy rainfall. Look for debris, leaves, dirt, or any blockages that could impede water flow.

- Clear Debris: Remove any visible debris from the surface of the drains. This includes leaves, sticks, and other organic matter. Use gloves and appropriate tools for safety.

- Check Grates and Channels: Ensure that the grates and channels are free from obstruction. If you notice any signs of blockage, take immediate action to clear them.

- Report Issues Promptly: If you encounter a blockage that you cannot clear yourself or notice any damage to the Aco drain system, report it to your landlord or property management immediately. Prompt action can prevent further issues.

- Educate Others: If you share the property with other tenants, make sure they understand the importance of keeping Aco drains clear. Encourage everyone to take responsibility for their areas.

### Why Keeping Aco Drains Clear is Essential

- Prevent Flooding: Blocked drains can quickly lead to water pooling, increasing the risk of flooding in and around your property. This can cause significant damage to structures, landscaping, and even create hazardous conditions for tenants and visitors.

- Protect Property Value: Regular maintenance of Aco drains helps preserve the integrity of your property. Neglecting these systems can lead to costly repairs

- Health and Safety: Standing water can become a breeding ground for pests, such as mosquitoes, and can contribute to mould growth. Keeping drains clear is a proactive measure to ensure a safe living environment.

### Consequences of Neglect

Flooding and Water Damage: Accumulated water can seep into foundations, walls, and basements, leading to costly repairs and potential loss of personal property.

Increased Costs: Landlords may pass on the costs of necessary repairs due to negligence to tenants. This includes drainage system repairs and potential legal liabilities.

Eviction Risks: Continued neglect of maintenance responsibilities can lead to warnings or even eviction, as it may violate lease agreements regarding property care

Signed______________________________

Print Name__________________________

Date_______________  Property___________________

Maintaining Aco drains is a vital part of ensuring the safety and longevity of your living environment. By taking proactive measures to keep these drains clear, you are protecting your property and contributing to a safer community. Please take this responsibility seriously and act promptly to prevent any issues.

Consequences of Neglect